## Worksheet
QMSR Design Transfer Readiness Checklist
Editable preparation aid — not an FDA form or certification tool. Complete and review against applicable requirements.
Transfer element | Readiness question | Evidence to sample | Owner | Status
Specification completeness | Are production specifications complete and current against approved design outputs?
Process validation | Are processes that cannot be fully verified validated with defined parameters?
Equipment and tooling | Is equipment qualified and maintained for the transferred design?
Supplier readiness | Do suppliers hold current specifications drawings and change-notification terms?
Inspection and test methods | Are acceptance methods defined capable and traceable to requirements?
Labeling and packaging | Are approved labeling versions and packaging validations in production control?
Training | Are production and quality staff trained on the transferred design and records?
Device history record readiness | Can one unit or lot be reconstructed from materials through release?
Change control boundary | Is there a clear point where design changes move under production change control?
Residual design actions | Are open design-review actions closed or formally transferred with owners?
Cahir MedTech · © Cahir AI LLC 2026